## sheet6
model
Problem | Active | Engine | Characteristics | Options | Path to files
DC Optimal Power Flow | TRUE | pyene | Base Power | 100
balance tree | FALSE | pyene | multiperiod | TRUE
transmission expansion planning | FALSE | fdif | output file name | results_Iraq_with_Renewables
|  |  | MOEA | FALSE
|  |  | representative periods | TRUE

## sheet5
tree
names
1 | week
2 | weekday | weekend
inputs
1 | 0
2 | 0 | 0
outputs
1 | 0
2 | 0 | 0
weights
1 | 1
2 | 5 | 2

## Sheet2
profile
type | bus
representative day | week | weekday
name | active power demand
dataset | hour
ID | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
all | 0.4819 | 0.531 | 0.5014 | 0.4587 | 0.428 | 0.4282 | 0.5326 | 0.7258 | 0.8 | 0.8058 | 0.7997 | 0.793 | 0.798 | 0.7516 | 0.7371 | 0.7653 | 0.9142 | 1 | 0.9401 | 0.8702 | 0.796 | 0.7441 | 0.6415 | 0.4969
type | bus
representative day | week | weekend
name | active power demand
dataset | hour
ID | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
all | 0.3271 | 0.2933 | 0.2887 | 0.2738 | 0.2634 | 0.2594 | 0.2965 | 0.3749 | 0.4595 | 0.5319 | 0.5579 | 0.5711 | 0.5878 | 0.5293 | 0.4791 | 0.4767 | 0.4946 | 0.5325 | 0.5185 | 0.4952 | 0.4759 | 0.5091 | 0.5092 | 0.4043
type | generator
subtype | wind
representative day | week | weekday
name | active power max limit
dataset | hour
ID | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
all | 0.737 | 0.74 | 0.75 | 0.759 | 0.759 | 0.739 | 0.703 | 0.652 | 0.657 | 0.655 | 0.67 | 0.677 | 0.684 | 0.695 | 0.71 | 0.735 | 0.752 | 0.75 | 0.762 | 0.748 | 0.726 | 0.705 | 0.685 | 0.666
type | generator
subtype | wind
representative day | week | weekend
name | active power max limit
dataset | hour
ID | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
all | 0.845 | 0.831 | 0.835 | 0.849 | 0.854 | 0.847 | 0.841 | 0.826 | 0.792 | 0.75 | 0.674 | 0.6 | 0.601 | 0.644 | 0.693 | 0.737 | 0.794 | 0.853 | 0.894 | 0.929 | 0.93 | 0.921 | 0.899 | 0.885
type | generator
subtype | pv
representative day | week | weekday
name | active power max limit
dataset | hour
ID | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
all | 0 | 0 | 0 | 0 | 0 | 0 | 0.005 | 0.177 | 0.386 | 0.553 | 0.657 | 0.714 | 0.718 | 0.692 | 0.634 | 0.516 | 0.363 | 0.164 | 0.005 | 0 | 0 | 0 | 0 | 0
type | generator
subtype | pv
representative day | week | weekend
name | active power max limit
dataset | hour
ID | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
all | 0 | 0 | 0 | 0 | 0 | 0 | 0.003 | 0.132 | 0.318 | 0.499 | 0.602 | 0.655 | 0.654 | 0.626 | 0.521 | 0.35 | 0.232 | 0.087 | 0.001 | 0 | 0 | 0 | 0 | 0

## Sheet1
generator
ID | number | subtype | subtype | subtype | group | active power max limit | active power min limit | fixed reactive power | fixed active power | status | reactive power max limit | reactive power min limit | unit commitment | cost unit commitment | cost new generator | GEP variable | fixed operation cost | variable operation cost | emissions | startup | shutdown
Hydro_1 | 1 | hydro | hydro | hydro | 1 | 240 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
PV_1 | 20 | pv | pv | pv | 1 | 500 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Wind_1 | 26 | wind | wind | wind | 1 | 500 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_1 | 4 | thermal | thermal | thermal | 1 | 360 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_2 | 6 | thermal | thermal | thermal | 1 | 304.4 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_3 | 11 | thermal | thermal | thermal | 1 | 690.7 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_4 | 14 | thermal | thermal | thermal | 1 | 980 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_5 | 15 | thermal | thermal | thermal | 1 | 490 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_6 | 16 | thermal | thermal | thermal | 1 | 325 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_7 | 19 | thermal | thermal | thermal | 1 | 2443.33 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_8 | 20 | thermal | thermal | thermal | 1 | 800 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_9 | 21 | thermal | thermal | thermal | 1 | 166.3 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_10 | 23 | thermal | thermal | thermal | 1 | 746 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_11 | 24 | thermal | thermal | thermal | 1 | 345.8 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_12 | 26 | thermal | thermal | thermal | 1 | 524.2 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_13 | 27 | thermal | thermal | thermal | 1 | 345.8 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_14 | 29 | thermal | thermal | thermal | 1 | 116.5 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_15 | 30 | thermal | thermal | thermal | 1 | 758.7 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_16 | 31 | thermal | thermal | thermal | 1 | 980.4 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0
Thermal_17 | 32 | thermal | thermal | thermal | 1 | 769 | 0 | 0 | 0 | 1 | 100 | -100 | FALSE | 0 | 0 | FALSE | 0 | 0 | 0 | 0 | 0

## sheet3
bus
ID | name | number | type node power flow | active power demand | reactive power demand | shunt conductance | shunt susceptance | BaseV | predefined voltage magnitude | predefined voltage angle | max voltage magnitude | min voltage magnitude | zone | group | subtype
N1 | MMDH | 1 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N2 | NYNG | 2 | 1 | 198.2 | 115.1 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N3 | 4MSE | 3 | 1 | 403.2 | 273 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N4 | KRMG | 4 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N5 | ERBC | 5 | 1 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N6 | 4KRK | 6 | 2 | 537.2 | 184 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N7 | 4BGW | 7 | 1 | 571.8 | 115.1 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N8 | 4BGS | 8 | 1 | 517.6 | 173.9 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N9 | 4BGE | 9 | 1 | 303.4 | -1.9 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N10 | 4BGN | 10 | 1 | 674.2 | 77 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N11 | QDSG | 11 | 2 | 235.4 | 133.8 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N12 | 4AMN | 12 | 1 | 647.1 | 243.9 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N13 | 4BGC | 13 | 1 | 581.2 | 113.1 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N14 | BSMG-1 | 14 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N15 | BSMG-2 | 15 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N16 | MNSG | 16 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N17 | 4DAL | 17 | 1 | 121.9 | 19.8 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N18 | 4KUT | 18 | 1 | 526 | 401.8 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N19 | KUTP | 19 | 3 | 631.7 | 199.3 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N20 | MUSP | 20 | 2 | 517.2 | 258 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N21 | MUSG | 21 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N22 | 4BAB | 22 | 1 | 563.3 | 157.3 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N23 | KHRG | 23 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N24 | DEWG | 24 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N25 | 4KDS | 25 | 1 | 408.5 | 84 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N26 | NSRP | 26 | 2 | 565.9 | 618.4 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N27 | 4AMR | 27 | 2 | 317 | 66.8 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N28 | 4QRN | 28 | 1 | 316.3 | 189.2 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N29 | HRPT | 29 | 2 | 339.6 | 156.6 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N30 | KAZG | 30 | 2 | 758.7 | 477.9 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N31 | RMLG | 31 | 2 | 383.4 | 187.9 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N32 | STBG | 32 | 2 | 0 | 0 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand
N33 | 4BSR | 33 | 2 | 656.2 | 249.4 | 0 | 0 | 400 | 1 | 0 | 1.1 | 0.9 | 1 | 1 | demand

## sheet4
branch
ID | from | to | subtype | resistance | reactance | line charging susceptance | max active power flow | status | cost new branch | TEP variable | group
L1 | 1 | 2 | line | 0.003142 | 0.028565 | 0.84637 | 10000 | 1 | 0 | FALSE | 1
L2 | 1 | 3 | line | 0.002015 | 0.018321 | 0.54284 | 10000 | 1 | 0 | FALSE | 1
L3 | 3 | 5 | line | 0.001409 | 0.012805 | 0.3794 | 10000 | 1 | 0 | FALSE | 1
L4 | 4 | 5 | line | 0.000271 | 0.002462 | 0.072963 | 10000 | 1 | 0 | FALSE | 1
L5 | 5 | 6 | line | 0.002449 | 0.022261 | 0.65958 | 10000 | 1 | 0 | FALSE | 1
L6 | 6 | 17 | line | 0.004018 | 0.036387 | 1.0808 | 10000 | 1 | 0 | FALSE | 1
L7 | 7 | 10 | line | 0.000932 | 0.008471 | 0.25099 | 10000 | 1 | 0 | FALSE | 1
L8 | 7 | 13 | line | 0.000854 | 0.007167 | 0.21967 | 10000 | 1 | 0 | FALSE | 1
L9 | 8 | 12 | line | 0.000966 | 0.008786 | 0.26033 | 10000 | 1 | 0 | FALSE | 1
L10 | 8 | 13 | line | 0.001236 | 0.010125 | 0.31349 | 10000 | 1 | 0 | FALSE | 1
L11 | 8 | 14 | line | 0.000365 | 0.002989 | 0.092544 | 10000 | 1 | 0 | FALSE | 1
L12 | 8 | 20 | line | 0.00122 | 0.01015 | 0.31897 | 10000 | 1 | 0 | FALSE | 1
L13 | 8 | 25 | line | 0.00308 | 0.02795 | 0.82827 | 10000 | 1 | 0 | FALSE | 1
L14 | 9 | 10 | line | 0.00029 | 0.00262 | 0.07763 | 10000 | 1 | 0 | FALSE | 1
L15 | 9 | 12 | line | 0.000779 | 0.006633 | 0.20197 | 10000 | 1 | 0 | FALSE | 1
L16 | 9 | 17 | line | 0.000919 | 0.008192 | 0.24473 | 10000 | 1 | 0 | FALSE | 1
L17 | 10 | 11 | line | 0.000185 | 0.001513 | 0.04685 | 10000 | 1 | 0 | FALSE | 1
L18 | 10 | 11 | line | 0.000185 | 0.001513 | 0.04685 | 10000 | 1 | 0 | FALSE | 1
L19 | 12 | 15 | line | 0.000775 | 0.006351 | 0.19666 | 10000 | 1 | 0 | FALSE | 1
L20 | 12 | 17 | line | 0.001553 | 0.013464 | 0.40689 | 10000 | 1 | 0 | FALSE | 1
L21 | 12 | 19 | line | 0.002338 | 0.020124 | 0.60997 | 10000 | 1 | 0 | FALSE | 1
L22 | 12 | 19 | line | 0.002338 | 0.020124 | 0.60997 | 10000 | 1 | 0 | FALSE | 1
L23 | 13 | 21 | line | 0.002307 | 0.019847 | 0.60834 | 10000 | 1 | 0 | FALSE | 1
L24 | 16 | 17 | line | 0.002508 | 0.020548 | 0.63624 | 10000 | 1 | 0 | FALSE | 1
L25 | 18 | 19 | line | 0.001728 | 0.01542 | 0.46038 | 10000 | 1 | 0 | FALSE | 1
L26 | 18 | 19 | line | 0.001728 | 0.01542 | 0.46038 | 10000 | 1 | 0 | FALSE | 1
L27 | 18 | 26 | line | 0.00432 | 0.03928 | 1.1639 | 10000 | 1 | 0 | FALSE | 1
L28 | 18 | 27 | line | 0.00479 | 0.04354 | 1.29 | 10000 | 1 | 0 | FALSE | 1
L29 | 20 | 21 | line | 0.000125 | 0.001043 | 0.032791 | 10000 | 1 | 0 | FALSE | 1
L30 | 20 | 22 | line | 0.00081 | 0.00673 | 0.21165 | 10000 | 1 | 0 | FALSE | 1
L31 | 20 | 22 | line | 0.00081 | 0.00673 | 0.21165 | 10000 | 1 | 0 | FALSE | 1
L32 | 22 | 23 | line | 0.000898 | 0.00736 | 0.22789 | 10000 | 1 | 0 | FALSE | 1
L33 | 22 | 25 | line | 0.00233 | 0.01935 | 0.60812 | 10000 | 1 | 0 | FALSE | 1
L34 | 23 | 25 | line | 0.002062 | 0.016897 | 0.5232 | 10000 | 1 | 0 | FALSE | 1
L35 | 24 | 25 | line | 0.000604 | 0.00495 | 0.15328 | 10000 | 1 | 0 | FALSE | 1
L36 | 25 | 26 | line | 0.00383 | 0.03485 | 1.0326 | 10000 | 1 | 0 | FALSE | 1
L37 | 26 | 31 | line | 0.00346 | 0.031232 | 0.92965 | 10000 | 1 | 0 | FALSE | 1
L38 | 27 | 28 | line | 0.00169 | 0.015366 | 0.45529 | 10000 | 1 | 0 | FALSE | 1
L39 | 28 | 29 | line | 0.00122 | 0.011091 | 0.32862 | 10000 | 1 | 0 | FALSE | 1
L40 | 29 | 30 | line | 0.00118 | 0.01076 | 0.3187 | 10000 | 1 | 0 | FALSE | 1
L41 | 30 | 31 | line | 0.001488 | 0.013305 | 0.39848 | 10000 | 1 | 0 | FALSE | 1
L42 | 30 | 33 | line | 0.000563 | 0.005122 | 0.15176 | 10000 | 1 | 0 | FALSE | 1
L43 | 33 | 32 | line | 0.000103 | 0.000841 | 0.026028 | 10000 | 1 | 0 | FALSE | 1

## Sheet7
connections energy
begin
problems | balance tree | DC OPF
variables | output | active power generation
type | generator
subtype | hydro
ID | all
end

## Sheet8
functions
begin
model | ID | pieces | cost function
2 | Hydro_1 | 3 | 0 | 0 | 0
2 | PV_1 | 3 | 0 | 0 | 0
2 | Wind_1 | 3 | 0 | 0 | 0
2 | Thermal_1 | 3 | 0 | 10 | 0
2 | Thermal_2 | 3 | 0 | 10 | 0
2 | Thermal_3 | 3 | 0 | 10 | 0
2 | Thermal_4 | 3 | 0 | 10 | 0
2 | Thermal_5 | 3 | 0 | 10 | 0
2 | Thermal_6 | 3 | 0 | 10 | 0
2 | Thermal_7 | 3 | 0 | 10 | 0
2 | Thermal_8 | 3 | 0 | 10 | 0
2 | Thermal_9 | 3 | 0 | 10 | 0
2 | Thermal_10 | 3 | 0 | 10 | 0
2 | Thermal_11 | 3 | 0 | 10 | 0
2 | Thermal_12 | 3 | 0 | 10 | 0
2 | Thermal_13 | 3 | 0 | 10 | 0
2 | Thermal_14 | 3 | 0 | 10 | 0
2 | Thermal_15 | 3 | 0 | 10 | 0
2 | Thermal_16 | 3 | 0 | 10 | 0
2 | Thermal_17 | 3 | 0 | 10 | 0
end

## Sheet9
outputs
begin
problem | DC OPF
name | active power demand
type | bus
ID | all
type information | parameters
data device | excel
function | none
end
begin
problem | DC OPF
name | load curtailment
type | bus
ID | all
type information | variables
data device | excel
function | none
end
begin
problem | DC OPF
name | active power generation
ID | all
type information | variables
data device | excel
function | none
type | generator
end
begin
problem | DC OPF
name | active power generation
ID | all
type information | variables
data device | h5
function | none
type | generator
end